| Electrical work accidents must be prevented. | 我要防止電力工作意外的發生 |
| --- | --- |
| Before doing electrical work, | 進行電力工作之前 |
| adequate safety measures have to be taken. | 一定要做足安全措施 |
| This building is under maintenance | 不知這座正進行維修工程的大廈 |
| Are adequate safety measures in place for electrical work? | 電力安全工作措施有否做好 |
| Hey! Is the power source isolated? | 你有沒有把電源隔離 |
| Before doing wiring, | 要進行電線接駁或 |
| or examining or repairing the power supply | 電力系統的檢查和維修前 |
| you have to isolate and lock out the power source, | 要先隔離電源 |
| and put a warning notice | 再將電箱上鎖及掛上告示 |
| to prevent anyone from reconnecting the power supply | 以免有人重開電源 |
| which may cause an accident. | 造成意外 |
| Also, electricians have to wear insulating gloves | 還有 電力工人要穿上絕緣手套 |
| to ensure safety. | 這樣就萬無一失 |
| The operation of the power supply system is safe and normal. | 供電系統的操作安全及正常 |
| You can use electricity for working without any worries. | 大家可以放心用電工作 |
| Wait! | 等一等 |
| Using defective electric drill like this | 用這電鑽工作 |
| is highly risky. | 遲早發生意外 |
| A damaged electric tool with exposed wires | 如果工具有破損 令電線外露 |
| may easily cause an electric shock | 很容易會引致觸電或短路 |
| or a short circuit, and eventually an accident. | 造成意外 |
| So proper maintenance of tools is a must | 所以要妥善保養電動工具 |
| for the sake of safety! | 確保安全 |
| Hey, buddy, | 這位師父 |
| Welding in such a cramped and wet environment | 在這樣狹窄及潮濕的環境下燒焊 |
| may easily cause an electric shock and fire. | 是很容易觸電及引致火警 |
| First, clear the stagnant water | 開工前應先清理積水 |
| and remove the inflammable items nearby. | 亦要搬走附近的易燃物品 |
| Damaged wires must be replaced. | 電線有破損一定要更換 |
| The floor surface must be covered with insulating mats. | 地面要鋪上絕緣蓆 |
| YES | YEAH |
| Employers, contractors and occupiers of premises | 僱主 承建商 處所佔用人 |
| should develop and implement a safe system of work for electrical work | 應該遵從法例的要求 |
| in accordance with the legal requirements. | 制定及實施電力工作安全系統 |
| Remember, | 記住 |
| hire registered electrical workers. | 僱用註冊的電業工程人員 |
| Provide them with adequate safety training, | 要提供足夠的安全訓練予工人 |
| and supervise them to ensure they comply with the safety precautions. | 監管工人遵守工作安全守則 |
| More than that, individual households, property management companies and owners’ corporations | 用戶 物業管理公司 業主立案法團 |
| should hire registered electrical contractors | 須要聘請註冊電業承辦商 |
| and workers to carry out the electrical work, | 及工程人員進行電力工作 |
| and help ensure electrical safety at work. | 協助監管電力工程工作安全 |
| Work safety is everyone’s responsibility. | 工作安全 人人有責 |
| If we can work together, | 只要我們通力合作 |
| work injuries caused by electrical accidents can be prevented. | 就可以防範因電力引致的工傷意外 |